ELEN 4230 – Renewable and Legacy Electric Energy Systems Analysis

Class Schedule:	3 Credit course, meeting the equivalent of 3-50 minute class periods per week.

Course Coordinator: Dr. Nathan Weise

Course Materials:

Required:		 First Course in Power Systems by Ned Mohan

Course Description:

Elements of electric power systems; fundamental concepts and techniques for design and analysis; per unit system; load flow; economic dispatch; symmetrical components; balanced and unbalanced fault calculations, systems instrumentation and power system protection.

Prerequisites:  	ELEN 2020, ELEN 3020

Selected Elective in Power and Energy Systems area.

Contribution to Professional Component:	Engineering Science 50%

Engineering Design 50%

Course Goals:

To enable the student to get a good understanding of the fundamental concepts, techniques, and methods for design and analysis of power systems.

Course Objectives:

By the end of this course, you should be able to....

- describe the elements of electric power systems;

- apply fundamental concepts and techniques for design and analysis;

- Apply per unit system;

- Explain power transmission line and power transformer models

- Apply load flow;

- Apply economic dispatch;

- Apply synchronous machinery models for stability studies

- Apply balanced fault calculations;

- Explain steady state and dynamic power system stability;

Contribution to Program Objectives:

Partial fulfillment of Criterion 3 objectives A, B, C, E, G, K.

Course Topics:

- Fundamental concepts and techniques for design and analysis 10%

- Elements of electric power systems 5%

- Transformers 10%

- Transmission Lines 15%

- Motors and Generators 10%

- Per unit system 5%

- Load flow 10%

- Economic dispatch 10%

- Synchronous machinery models for stability studies 5%

- Balanced fault calculations 5%

- System steady-state and dynamic stability 10%